## Slide 1: Wind energy potential in Lithuania: opportunities and challenges 2024 04 12 Vilnius

## Slide 2: Installed capacity in Lithuania by type of power plant 2015-2024/01
Chart: Installed power MW
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Wind power plants Transmission network | 223 | 365 | 425 | 433 | 433 | 433 | 433 | 551 | 803 | 1109
Wind power plants Distribution network | 65 | 72 | 84 | 88 | 100 | 101 | 107 | 120 | 143 | 179
Solar power plants Transmission network | 78
Solar power plants Distribution network | 69 | 73 | 80 | 82 | 83 | 103 | 169 | 259 | 572 | 1087
Hydroelectric power plants | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 129
Biomass power plants | 75 | 57 | 62 | 62 | 62 | 63 | 63 | 58 | 62 | 196
Biogas power plants | 30 | 39 | 40 | 41 | 35 | 36 | 37 | 37 | 1
Non-renewable fuel power plants | 2689 | 1931 | 1871 | 1932 | 1937 | 1936 | 1972 | 1634 | 1625 | 1609
Hydro storage | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
Average annual electricity price | 41.92 | 36.54 | 35.13 | 50 | 46.12 | 34.04 | 90.45 | 230.23 | 94.44 | 88

## Slide 3: Electricity generation 2015-2023
Chart: Electricity TWh
| 2015m. | 2016m. | 2017m. | 2018m. | 2019m. | 2020m. | 2021m. | 2022m. | 2023m.
Other renewable energy sources
TWh
Electricity generation (Net)
Wind power plants on the transmission grid
Wind power plants on the distribution grid
Waste incineration power plants | 0.091105 | 0.055815 | 0.075877 | 0.071239 | 0.072809 | 0.075168 | 0.073971 | 0.027987 | 0
Wind power plants | 0.80679 | 1.1305 | 1.3571 | 1.1386 | 1.4534 | 1.5442 | 1.3555 | 1.5132 | 2.5241
Solar power plants | 0.073327 | 0.067234 | 0.067094 | 0.080079 | 0.084079 | 0.10842 | 0.15728 | 0.27344 | 0.63283
Hydroelectric power plants | 0.34544 | 0.44968 | 0.57308 | 0.42565 | 0.34215 | 0.29705 | 0.37975 | 0.45703 | 0.44602
Biogas power plants | 0 | 0.1 | 0.12873 | 0.136 | 0.14482 | 0.15004 | 0.15034 | 0.13335 | 0.10293
Biomass power plants | 0.29401 | 0.216 | 0.24436 | 0.24023 | 0.23306 | 0.2514 | 0.15437 | 0.13971 | 0.12363
Kruonis HAE | 0.66706 | 0.56784 | 0.57436 | 0.52107 | 0.58352 | 0.76793 | 0.6992 | 0.54389 | 0.52016

## Slide 4: Electricity production and consumption in Lithuania 2015-2023, TWh
Chart: Electricity TWh
| 2015m. | 2016m. | 2017m. | 2018m. | 2019m. | 2020m. | 2021m. | 2022m. | 2023m.
Other renewable energy sources
TWh
Electricity generation (Net)
Wind power plants on the transmission grid
Wind power plants on the distribution grid
Waste incineration power plants | 0.091105 | 0.055815 | 0.075877 | 0.071239 | 0.072809 | 0.075168 | 0.073971 | 0.027987 | 0
Wind power plants | 0.80679 | 1.1305 | 1.3571 | 1.1386 | 1.4534 | 1.5442 | 1.3555 | 1.5132 | 2.5241
Solar power plants | 0.073327 | 0.067234 | 0.067094 | 0.080079 | 0.084079 | 0.10842 | 0.15728 | 0.27344 | 0.63283
Hydroelectric power plants | 0.34544 | 0.44968 | 0.57308 | 0.42565 | 0.34215 | 0.29705 | 0.37975 | 0.45703 | 0.44602
Biogas power plants | 0 | 0.1 | 0.12873 | 0.136 | 0.14482 | 0.15004 | 0.15034 | 0.13335 | 0.10293
Biomass power plants | 0.29401 | 0.216 | 0.24436 | 0.24023 | 0.23306 | 0.2514 | 0.15437 | 0.13971 | 0.12363
Kruonis HAE | 0.66706 | 0.56784 | 0.57436 | 0.52107 | 0.58352 | 0.76793 | 0.6992 | 0.54389 | 0.52016

## Slide 5
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2030 | 2040 | 2050
Wind power plants Transmission network | 223 | 365 | 425 | 433 | 433 | 433 | 433 | 551 | 803 | 1109 | 5900 | 9300 | 14500
Wind power plants Distribution network | 65 | 72 | 84 | 88 | 100 | 101 | 107 | 120 | 143 | 179
Solar power plants Transmission network | 78 | 1600 | 3500 | 4500
Solar power plants Distribution network | 69 | 73 | 80 | 82 | 83 | 103 | 169 | 259 | 572 | 1087 | 2500 | 3500 | 4500
Hydroelectric power plants | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 129 | 129 | 129 | 129
Biomass power plants | 75 | 57 | 62 | 62 | 62 | 63 | 63 | 58 | 62 | 196 | 196 | 196 | 196
Biogas power plants | 30 | 39 | 40 | 41 | 35 | 36 | 37 | 37 | 1 | 100 | 500 | 700
Non-renewable fuel power plants | 2689 | 1931 | 1871 | 1932 | 1937 | 1936 | 1972 | 1634 | 1625 | 1609 | 1609 | 2109 | 3109
Hydro storage | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
Installed capacity in Lithuania by type of power plant 2015-2050

## Slide 6: Electricity generation 2015 - 2050, TWh
Chart: 
| 2015m. | 2016m. | 2017m. | 2018m. | 2019m. | 2020m. | 2021m. | 2022m. | 2023m. | 2050
Wind power plants | 0.80679 | 1.1305 | 1.3571 | 1.1386 | 1.4534 | 1.5442 | 1.3555 | 1.5132 | 2.5241 | 46.9
Solar power plants | 0.073327 | 0.067234 | 0.067094 | 0.080079 | 0.084079 | 0.10842 | 0.15728 | 0.27344 | 0.63283 | 9.5
Hydroelectric power plants | 0.34544 | 0.44968 | 0.57308 | 0.42565 | 0.34215 | 0.29705 | 0.37975 | 0.45703 | 0.44602
Biomass power plants | 0.29401 | 0.216 | 0.24436 | 0.24023 | 0.23306 | 0.2514 | 0.15437 | 0.13971 | 0.12363 | 0.4
Biogas power plants | 0 | 0.1 | 0.12873 | 0.136 | 0.14482 | 0.15004 | 0.15034 | 0.13335 | 0.10293
Kruonis HAE | 0.66706 | 0.56784 | 0.57436 | 0.52107 | 0.58352 | 0.76793 | 0.6992 | 0.54389 | 0.52016 | 1.6
TWh
Waste incineration power plants | 0.091105 | 0.055815 | 0.075877 | 0.071239 | 0.072809 | 0.075168 | 0.073971 | 0.027987 | 0
Battery technology | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0041357
Electricity generation (Net)
Thermal power plants | 2.3207 | 1.3846 | 0.84503 | 0.60723 | 0.72589 | 1.948 | 1.7225 | 1.1612 | 1.3111 | 11.2
Wind power plants on the transmission grid

## Slide 7: Renewable energy generation, national consumption and the (day-ahead) electricity price 2024-04-10
Chart: MWh
| 2024-04-10 00:00:00 | 2024-04-10 01:00:00 | 2024-04-10 02:00:00 | 2024-04-10 03:00:00 | 2024-04-10 04:00:00 | 2024-04-10 05:00:00 | 2024-04-10 06:00:00 | 2024-04-10 07:00:00 | 2024-04-10 08:00:00 | 2024-04-10 09:00:00 | 2024-04-10 10:00:00 | 2024-04-10 11:00:00 | 2024-04-10 12:00:00 | 2024-04-10 13:00:00 | 2024-04-10 14:00:00 | 2024-04-10 15:00:00 | 2024-04-10 16:00:00 | 2024-04-10 17:00:00 | 2024-04-10 18:00:00 | 2024-04-10 19:00:00 | 2024-04-10 20:00:00 | 2024-04-10 21:00:00 | 2024-04-10 22:00:00 | 2024-04-10 23:00:00
Actual national wind power generation | 489.883 | 502.156 | 593.38 | 655.541 | 620.521 | 519.511 | 399.458 | 329.337 | 378.501 | 410.661 | 398.112 | 434.708 | 563.582 | 666.678 | 697.681 | 794.091 | 879.282 | 927.14 | 933.451 | 926.24 | 949.487 | 909.525 | 929.962 | 866.71
Actual national production of solar power plants | 0 | 0 | 0 | 0 | 0 | 0.489 | 33.293 | 126.266 | 274.607 | 433.561 | 535.584 | 620.992 | 690.696 | 698.981 | 663.907 | 574.381 | 465.509 | 299.471 | 110.763 | 25.419 | 7.693 | 0.001 | 0 | 0
Actual national hydropower production | 26.031 | 24.804 | 24.789 | 24.713 | 24.708 | 24.711 | 31.172 | 211.154 | 278.177 | 299.267 | 78.155 | 26.906 | 24.695 | 24.667 | 24.676 | 24.674 | 24.781 | 24.829 | 24.731 | 24.673 | 24.822 | 24.81 | 24.85 | 24.822
Actual national electricity consumption | 1121.354 | 1076.649 | 1063.606 | 1062.294 | 1070.946 | 1121.878 | 1324.85 | 1472.752 | 1558.198 | 1552.442 | 1499.661 | 1517.588 | 1476.186 | 1405.942 | 1355.694 | 1333.895 | 1310.455 | 1352.543 | 1404.121 | 1430.916 | 1487.099 | 1453.324 | 1316.58 | 1192.71
Electricity price | 0.44 | 22.24 | 4.1 | 4.06 | 4.08 | 24.66 | 15.08 | 76.02 | 99.63 | 70.09 | 70.01 | 1.5 | 0.42 | 0.65 | 0.47 | 0.67 | 0.3 | 0.44 | 0.45 | 4.01 | 4.03 | 4.01 | 0.43 | 0.4

## Slide 8: Energy and environment
Currently over 3TW of wind energy projects in Lithuania are stuck due to one or another constraint.
Incompatibility with military objectives,
Different assessments of environmental requirements and mitigation measures,
Landscape requirements,
Landowner requirements,
Malicious undermining of various NGOs,
Competition for equipment in the world (power stations, transformers, etc.),
Export opportunities (LitPolLink, Harmony link, hydrogen?)

## Slide 9
Regulation
Replaced several times a year (both yes and no)
  On average, a wind power project takes 5 years to complete,
  The land use for the power plant does not need to be changed, but the substation does,
Changing the realestate tax base from 0.3 to 3% (as for derelict, unmaintained properties),
In all cases, the risk of changes in the law is the developer's responsibility,
Renewable electricity is taxed more (€1/MWh) than fossil fuels.
  Network operator plans.

## Slide 10: What next?

## Slide 11
Chart: Generating capacities mix 2024
| Mišraus kuro elektrinės | Gamtinių dujų elektrinės | Atliekas deginančios elektrinės | Kruonio hidroakumuliacinė elektrinė | Kitos ne AEI elektrinės | Vėjo elektrinės | Saulės elektrinės | Hidroelektrinės | Biomasės elektrinės | Biodujų elektrinės
 | 338 | 1166 | 68 | 900 | 37 | 1288 | 1165 | 129 | 196 | 1
Chart: Generating capacities mix 2023
| Mišraus kuro elektrinės | Gamtinių dujų elektrinės | Atliekas deginančios elektrinės | Kruonio hidroakumuliacinė elektrinė | Kitos ne AEI elektrinės | Vėjo elektrinės | Saulės elektrinės | Hidroelektrinės | Biomasės elektrinės | Biodujų elektrinės
 | 338 | 1180.186 | 70.04 | 900 | 37 | 946.52 | 572.3 | 127.709 | 61.8 | 37.09

## Slide 12: Production, imports, consumption 2023
Chart: Production Imports Consumption 2023
| 2014m. | 2015m. | 2016m. | 2017m. | 2018m. | 2019m. | 2020m. | 2021m. | 2022m. | 2023m.
TWh
Electricity generation (Net) | 4.0542 | 4.5984 | 3.9727 | 3.8656 | 3.2201 | 3.6398 | 5.1423 | 4.6927 | 4.2499 | 5.6649
Wind power plants | 0.63624 | 0.80679 | 1.1305 | 1.3571 | 1.1386 | 1.4534 | 1.5442 | 1.3555 | 1.5132 | 2.5241
Solar power plants | 0.072972 | 0.073327 | 0.067234 | 0.067094 | 0.080079 | 0.084079 | 0.10842 | 0.15728 | 0.27344 | 0.63283
Total electricity demand in Lithuania | 11.677 | 11.8061 | 12.2474 | 12.5428 | 12.8525 | 12.9834 | 13.0507 | 13.7369 | 12.8175 | 12.5828
Imports | 7.789 | 7.4602 | 10.1013 | 11.1675 | 12.4371 | 13.3566 | 11.2607 | 11.9158 | 11.2199 | 9.7944